## Sheet1
Date | System | Summary | Stream | Complexity | Resolution | Business Impact
2024-02-02 | Network: FTE | Intermittent SILENT statuses on FTE auxiliary display | Diagnostic | Moderate | Pending | Efficiency
2024-08-06 | Alarm: DynAMo | Standing Alarm Report error due to duplicate CPD tag | Day-to-Day | Moderate | Fixed | Efficiency
2024-09-25 | Network: MOXA | Loss of tank data due to frozen MOXA splitter | Day-to-Day | Quick | Workaround | Safety
2024-02-26 | DCS: Experion C300 | Coker C300 buffer exhaustion degrading performance | Diagnostic | Moderate | Pending | Efficiency
2024-06-04 | Alarm: ACM | Active Sync batch not completing on one channel | Diagnostic | Quick | Escalated | Efficiency
2024-05-20 | Alarm: ACM | Post-migration TagSync cleanup and SCADA tag correction | Day-to-Day | Moderate | Handed Off | Safety
2024-06-20 | Vibration: BN3500 | Integrity connector issues between BN3500 and EPKS | Diagnostic | Moderate | Escalated | Efficiency
2024-10-21 | Alarm: DynAMo | Corrected ActiveSync mapping and documented constraints | Day-to-Day | Moderate | Pending | Efficiency
2024-02-07 | OT Domain/Access | PLCSIS admin and domain account setup guidance | Day-to-Day | Quick | Fixed | Low
2024-02-26 | HMI: HMIWeb | DCU display performance concern routed to project | Project | Moderate | Handed Off | Efficiency
2024-06-04 | HMI: AVEVA InTouch | PSA HMI upgrade license support | Project | Quick | Handed Off | Low
2024-06-04 | DCS: TDC / ACE-T | Enabled ACE-T use and flagged missing load modules | Project | Moderate | Pending | Efficiency
2024-07-30 | Alarm: ACM/DynAMo | Asset move impacts and migration expectations set | Project | Moderate | Pending | Efficiency
2024-03-21 | Virtualization / Experion | Capacity/sizing validation for Experion migrations | Project | Moderate | Pending | Efficiency
2025-12-02 | UPS/COM Alarm | P1 troubleshooting for UPS COM alarm | Day-to-Day | Moderate | Pending | Safety
2025-01-03 | Experion Alarm | Review of shelving/priority standards | Day-to-Day | Moderate | Fixed | Compliance
2025-08-21 | ACM/DynAMo | Missing AlarmClass NTE SQL analysis | Diagnostic | Moderate | Pending | Compliance
2026-01-14 | Alarm Flood | Alarm flood KPI analysis | Diagnostic | Moderate | Pending | Efficiency
2025-12-04 | APO/HAM | Node rename procedure missing; SR needed | Day-to-Day | Quick | Escalated | Efficiency
2025-03-20 | TPS/Experion | TPNServer congestion troubleshooting | Diagnostic | Moderate | Pending | Efficiency
2025-11-14 | Siemens PLC | HMI communication troubleshooting | Day-to-Day | Moderate | Escalated | Production
2025-08-06 | AB PLC/Experion | Loss of comms after power loss | Diagnostic | Major | Escalated | Safety
2024-09-20 | DRCS Upgrade | Penex/Butamer DRCS migration planning | Project | Moderate | Pending | Reliability
2025-12-14 | ACM/SCADA | DB corruption and SR tracking | Diagnostic | Major | Escalated | Safety