## Sheet1
Date | Topic | Was_I_First_Responder | Issue_Type | Resolution
2025-12-31 | Trident DI Issues - LOV | No | Asset inventory / SIS hardware visibility | Provided how-to (AutomationIntegrity → CyberIntegrity toggle) and flagged missing component breakdown for Triconex
2024-07-25 | KA BA Panel Out of Service for Cutover | No | Analyzer PLC ownership / program retention | Clarified Integrity coverage, attached context from past email, and aligned expectations on where analyzer code lives
2025-10-23 | WCC 92 Power Distribution Card Failure | Yes | GE Mark VIe hardware incident / sparing | Started the investigation thread and provided prior proposal context for sparing strategy consideration
2025-12-17 | LASR Process Control Spare Parts - Expedited Review Requested | No | Spares management / SAP process | Drove clarity on MM creation, stocking levels, and BOM linkage; supply-chain partners answered follow-ups
2025-10-24 | Panel PC - Emerson Option | No | HMI hardware selection / architecture | Solicited team input and captured vendor technical points for decision shaping
2025-12-02 | P1 Troubleshooting Request (HIMA system) | No | Urgent alarm triage / system identification | Prompted correct system context to steer P1 troubleshooting (HIMA vs. other)
2026-01-06 | Quote OZD 485 G12 PRO Repair & Return | No | Network/comm hardware RMA & tracking | Confirmed recovered device; closed the loop with the DL to restore traceability
2025-11-04 | New Integrity Application | Yes | Integrity cutover / reservations process | Gave go/no-go guidance and flagged the reservation-migration punch-list item; later confirmed copy plan and verification need
2025-12-18 | LAR Hexagon L1 Project Closeout | Yes | Vendor deliverables / effort accounting | Challenged proposed effort, asked for hours breakdown, and set expectations for migration/reservation scope
2025-11-04 | Tricon vs CLX Processing Times | No | SIS performance characteristics | Provided reference material to support sizing/scan-time discussion
2025-11-12 | L&J Training Material | Yes | Training enablement / knowledge transfer | Distributed course records and materials for L&J tank gauging systems to support craft training alignment
2025-11-07 | TMR Carson Sulfur Item | Yes | SIS vendor escalation / coordination | Directed inclusion of the PLC/SIS group on data-submission support requests to avoid gaps