## Sheet1
Date | Vendor | Issue | My_Role | Resolution | Business_Impact | Email_Subject | Recipients
2024-05-27 | Honeywell (HPS) | DynAMo not processing events (SR 06134881) | Opened TAC, supplied error logs and steps | Case created and dispatched; troubleshooting in progress | Significant impact; loss of DynAMo processing affects alarm governance | RE: Honeywell – Technical Support Request – 06134881 created | Honeywell TAC
2024-04-02 | Honeywell (Experion/DynAMo) | Frequent auth notifications & congestion on server pair | Clarified scope with TAC; coordinated follow-up | TAC provided optimization recommendations; site scheduling pending | Risk of automatic failovers/slow TPS—production stability risk | RE: SR#05824384 … Unexpected Notification From DynAMo | Honeywell TAC
2024-03-04 | Honeywell (ACM/SCADA) | SCADA reconfiguration behavior clarification | Queried TAC; validated expected behavior | Ticket closed as works as designed | Eliminates rework—clear workflow for tag reconfiguration | RE: SR#06311250 / Case#06311251 … Standing Alarm Discrepancy | Honeywell TAC
2024-08-13 | Honeywell (DynAMo) | Duplicate Alarm Found flood after cache regen | Opened case; executed DE-recommended cleanup; documented steps | Noise reduced using Return Duplicate Open Alarms; residual duplicates tracked | Restored archiver stability; reduces alarm fatigue | RE: SR#06311250 / Case#06311251 … Standing Alarm Discrepancy | Honeywell TAC
2025-02-05 | Honeywell (APO) | Evaluation license path & timeline | Drove EULA process; engaged sales per TAC instruction | Process defined; evaluation key requested | Enables migration testing from APO 1.1 → 2.x | RE: [External] APO 2.0 Evaluation License | Honeywell Sales/TAC
2025-09-11 | Honeywell (APO) | Feature request: grace period when license exceeds; better limits visibility | Authored enhancement (requested RQUP) | Request submitted to Honeywell team (pending) | Prevents operator loss of Alarm Help; reduces downtime risk | RE: SR#08789304 … how do we prevent the license from exceeding the limit… | Honeywell TAC
2024-04-16 | Hexagon (PAS Integrity) | License & asset model issue (00612119) | Worked with vendor; rolled back to EPKS 6.0.0.1; uploaded imports | Import job recovered; cleared temp & freed space | Restored data collection; avoided protracted outage | RE: Case 00612119 - No license exists | Hexagon Support
2026-01-14 | Hexagon (CyberIntegrity) | Triconex component-level view missing → then fixed (idea INT-I-272) | Opened query; filed idea; verified resolution | Appears fixed; confirmed improved filtering | Better SIS asset visibility for maintenance & cyber | RE: CyberIntegrity Feature Question | Hexagon vendor team
2025-12-02 | Schneider / Triconex | Consolidated CFA 2026-2028 scope & Watson inclusion | Validated audit; agreed change-order timing | Add Watson in Mar-2026 via change order | Maintains support continuity; centralizes coverage | RE: Schneider Consolidated CFA 2026-2028 | Schneider Electric
2026-01-14 | Schneider / Triconex | SIS training PO 4900752571 & date hold | Drove PO approval & set training window | Reserved week of Apr-20, 2026 | Upskills SIS staff (Tristation/Triconex) | RE: Purchase Order Notification 4900752571 | Schneider Electric
2025-07-17 | HIMA | SILworX license update via LCP | Directed vendor to issue updated 10-digit license | Vendor to provide license; media/instructions requested | Keeps safety tooling current; supports PM & changes | RE: SILworX License Update | HIMA Support
2025-12-08 | HIMA | Annual support agreement 2026 within budget | Confirmed funding adequacy; coordinated with Supply Chain | Proceed under existing PO (no change needed) | Ensures 24/7 hotline, lifecycle mgmt; no lapse | 2512108 RR-TC_HIMA – Marathon annual agreement 2026 | HIMA Support
2025-10-21 | GE Vernova | Mark VIe health check / open items | Disseminated vendor report; tracked next steps | Report issued; follow-ups on EOL supplies/SPROs | Supports reliability planning/spares strategy | FW: GE Mark VIe Summary of Findings | GE Support
2025-11-06 | GE Vernova | Large parts order fulfillment tracking (packs) | Monitored receipts; flagged missing packs/ETA | Confirmed additional boxes; reconciled lines | Reduces GTG downtime risk; speeds repairs | RE: Purchase Order Number 4900656857 | GE Support
2026-01-14 | Siemens (Maxum GC) | GC software/license for service visit | Provided WO#, coordinated purchase path | Proceeding with license acquisition before tech visit | Ensures analyzer service readiness; reduces reschedule risk | RE: Siemens Maxum GC Spare Parts Quote request | Siemens Support