## Sheet1
Date | System | Summary | Stream | Complexity | Resolution | Business Impact
2026-01-06 | Alarm: DynAMo | Advised adding self-suppression on trigger tag 57DAS002 | Day-to-Day | Quick | Pending | Efficiency
2026-01-07 | Alarm: ACM | Escalated missing 1Crude alarm tags after server move | Diagnostic | Low | Pending | Safety
2026-01-06 | DCS: Experion, C300 | Coordinated data request on Event Archive and C300 checkpoints | Day-to-Day | Low | Pending | Compliance
2026-01-08 | Network: FTE | Asked about migration need for Experion Network Manager R102 | Day-to-Day | Quick | Pending | Efficiency
2026-01-21 | Other | Analyzed backup utility Relocate Files step during troubleshooting | Day-to-Day | Moderate | Pending | Compliance
2026-01-22 | HMI: HMIWeb | Responded to Panel PC install error missing Panel Server option | Project | Low | Pending | Efficiency
2026-01-22 | PLC: ControlEdge | Staged latest ControlEdge Builder media for commissioning | Project | Low | Pending | Production
2026-01-19 | Network: OPC | Mapped 42 HDA/DA configs restoring Integrity connectivity | Day-to-Day | Medium | Fixed | Compliance
2026-01-19 | Integrity | Reported missing Triconex detail, raised MOC concern | Applications | Low | Pending | Compliance
2026-01-06 | Integrity | Identified 48k missing Alarm Group defects in Integrity | Diagnostic | Low | Pending | Compliance