## Summary
PC VALUE TRACKER — MONTHLY SUMMARY
Month: | December 2025
Generated: | 2026-01-25 07:04
TOTAL ISSUES | 36
BY STREAM | Count
Applications | 26
Day-to-Day | 9
Legacy Modernization | 1
BY SYSTEM | Count
Alarm | 15
Other | 8
DCS | 7
SIS | 4
HMI | 1
PLC | 1
BY COMPLEXITY | Count
Low | 20
Moderate | 5
Quick | 4
Medium | 3
High | 3
Major | 1
BY BUSINESS IMPACT | Count
Compliance | 16
Low | 13
Efficiency | 4
Safety | 2
Production | 1
BY RESOLUTION | Count
Fixed | 11
Informational | 10
Pending | 7
Escalated | 4
Workaround | 4

## All Issues
Date | System | Summary | Stream | Complexity | Resolution | Business Impact
2025-12-01 | Turbine: GE Mark VIe | Coordinated with Cyber/OT to assess GE Remote Diagnostic service option and confirm acceptability of lockbox approach | Day-to-Day | Low | Pending | Efficiency
2025-12-02 | UPS/COM Alarm | P1 troubleshooting for UPS COM alarm | Day-to-Day | Moderate | Fixed | Production
2025-12-03 | Alarm: ACM | Flagged ACM tag description mismatches, noted F12 forcing update | Applications | Low | Informational | Low
2025-12-03 | Other | Reviewed Windows server build and config for pgwgen004002 to close incident | Day-to-Day | Low | Pending | Compliance
2025-12-04 | APO/HAM | Node rename procedure missing; SR needed | Applications | Quick | Escalated | Low
2025-12-04 | HMI: HMIWeb | Explained Flex vs server alarm discrepancies under investigation | Applications | Low | Pending | Low
2025-12-05 | Integrity | Requested SEL‑710 relay config files for Integrity ingestion | Applications | Low | Pending | Compliance
2025-12-08 | Experion/TPS | FW: Re: DSPPrime on TDC consoles: Shared dspprime/pntbld procedure to purge stale TDC points after cutover. | Legacy Modernization | Low | Fixed | Low
2025-12-08 | SIS: Triconex | Investigated FCC alarm 11SPLC30AO, checked scan rate and SCADA tag grouping | Day-to-Day | Moderate | Fixed | Safety
2025-12-10 | Alarm: ACM | Enabled ETD Tag Sync, issued Add/Delete lists, noted need for permanent deletions | Applications | Moderate | Pending | Compliance
2025-12-10 | Alarm: ACM | Explained SCADA Reconfiguration defect causing Alarm Help loss, UTT fix available | Applications | Low | Escalated | Low
2025-12-11 | PLC (Rockwell) | FW: FCC System Alarm 11SPLC30AO: Analyzed polling performance vs. register gaps; requested change chronology around 12/3. | Day-to-Day | Low | Informational | Efficiency
2025-12-11 | Alarm Mgmt | RE: APO 3.0 Installation: Raised L3/L4 edit constraints and CAR/PAR impacts; proposed template app/db servers and node rename procedure. | Applications | Low | Informational | Compliance
2025-12-11 | Alarm Mgmt | RE: Console / Dynamo: Explained suppression exposure vs. NTE reporting; reviewed specific NTE/level instruments. | Applications | Low | Informational | Compliance
2025-12-11 | Alarm Mgmt | RE: ETD_UTIL: Provided Tag Sync add/delete lists and reasoning for In-Progress versions created by scheduled jobs. | Applications | Low | Fixed | Compliance
2025-12-11 | Experion/TPS | RE: Significant issue with alarm discrepancies occurring between the servers and the consoles: Questioned BRM station role; supported EST rebuild plan and MOC path. | Applications | Medium | Informational | Compliance
2025-12-11 | Alarm: DynAMo | Clarified INHIBIT vs DISABLE behavior and recommended proper MOC | Applications | Quick | Workaround | Compliance
2025-12-11 | Alarm: APO | Recommended APO 3.0 template strategy and cautioned on alternative architecture | Applications | Medium | Informational | Efficiency
2025-12-11 | Alarm: ACM | Diagnosed unexplained In Progress state for tag 88VA327G linked to Reconfiguration | Applications | Low | Pending | Low
2025-12-14 | ACM/SCADA | DB corruption and SR tracking | Applications | Major | Escalated | Low
2025-12-16 | Alarm Mgmt | SPW Dynamo Activities: Investigated bulk UnSuppress actions and audit behavior across TPS/Experion. | Applications | Low | Fixed | Compliance
2025-12-16 | DCS: ControlEdge | Provided guidance for ControlEdge PLC install media sourcing | Day-to-Day | Quick | Informational | Low
2025-12-16 | SIS: Triconex | Clarified Tristation access model via L2.5 jump box for compliance | Day-to-Day | Low | Informational | Compliance
2025-12-17 | Experion/TPS | RE: LCN3 (ALKY) DCS Backup and Integrity Update: Coordinated D3K EC schedules and executed backups for Carson LCNs; requested enabling ECs on ENG stations. | Applications | Low | Fixed | Compliance
2025-12-18 | Integrity | Challenged reservation migration hours, documented SSR defects and training needs | Applications | Moderate | Escalated | Compliance
2025-12-19 | Experion/TPS | RE: LCN4 17XA861 and 84UA822 chattering alarms: Clarified INHIBIT vs DISABLE parity for suppression reporting; tied to journaling load relief. | Applications | Medium | Informational | Low
2025-12-19 | Alarm: DynAMo | Supported mitigation of LCN4 chattering alarms with suppression guidance | Applications | Quick | Workaround | Low
2025-12-29 | SIS/Triconex | RE: Integrity TS1131 cannot view XPS: Pursued PDF-based workaround and asked for model changes (Aha!) to move away from XPS. | Applications | High | Workaround | Safety
2025-12-29 | Alarm Mgmt | RE: ACM Secondary Parameter Update: Ran secondary parameter update to push QB description/alarm edits; reported per-tag outcomes. | Applications | Low | Fixed | Efficiency
2025-12-29 | Alarm Mgmt | RE: ALERT: ACM DB Replication Heartbeat not implemented or cannot be detected: Confirmed the replication/heartbeat condition self-recovered the following day. | Applications | High | Fixed | Compliance
2025-12-29 | Integrity (ALI) | RE: Zip files transferred correctly as well: Verified transfer job execution from doublehop to INT01; set expectation on 8+ hour population. | Applications | Low | Fixed | Compliance
2025-12-29 | Experion/TPS | RE: UDC Agents: Tracked redeploys across ESV/EVT fleet; highlighted remaining problematic nodes for follow-up. | Day-to-Day | Low | Pending | Low
2025-12-31 | Experion/TPS | RE: DAS 91DAS005: Chased missing SUPP events on DAS triggers; captured re-init actions; warned about server-wide alarm toggling. | Applications | Low | Fixed | Low
2025-12-31 | SIS/Triconex | RE: Trident DI Issues - LOV: Pointed to CyberIntegrity inventory capability; noted current limitations in TRX component breakdown. | Day-to-Day | Low | Informational | Compliance
2025-12-31 | Integrity | Completed manual migration of >1000 reservations to LARINT01, listed carve-outs | Applications | High | Fixed | Compliance
2025-12-31 | Alarm: DynAMo | Troubleshot missing DAS SUPP events since Oct 4 and documented workaround | Applications | Moderate | Workaround | Low

## By Stream
=== APPLICATIONS ===
Date | System | Summary | Complexity | Resolution | Impact
2025-12-03 | Alarm: ACM | Flagged ACM tag description mismatches, noted F12 forcing update | Low | Informational | Low
2025-12-04 | APO/HAM | Node rename procedure missing; SR needed | Quick | Escalated | Low
2025-12-04 | HMI: HMIWeb | Explained Flex vs server alarm discrepancies under investigation | Low | Pending | Low
2025-12-05 | Integrity | Requested SEL‑710 relay config files for Integrity ingestion | Low | Pending | Compliance
2025-12-10 | Alarm: ACM | Enabled ETD Tag Sync, issued Add/Delete lists, noted need for permanent deletions | Moderate | Pending | Compliance
2025-12-10 | Alarm: ACM | Explained SCADA Reconfiguration defect causing Alarm Help loss, UTT fix available | Low | Escalated | Low
2025-12-11 | Alarm Mgmt | RE: APO 3.0 Installation: Raised L3/L4 edit constraints and CAR/PAR impacts; proposed template app/d | Low | Informational | Compliance
2025-12-11 | Alarm Mgmt | RE: Console / Dynamo: Explained suppression exposure vs. NTE reporting; reviewed specific NTE/level | Low | Informational | Compliance
2025-12-11 | Alarm Mgmt | RE: ETD_UTIL: Provided Tag Sync add/delete lists and reasoning for In-Progress versions created by s | Low | Fixed | Compliance
2025-12-11 | Experion/TPS | RE: Significant issue with alarm discrepancies occurring between the servers and the consoles: Quest | Medium | Informational | Compliance
2025-12-11 | Alarm: DynAMo | Clarified INHIBIT vs DISABLE behavior and recommended proper MOC | Quick | Workaround | Compliance
2025-12-11 | Alarm: APO | Recommended APO 3.0 template strategy and cautioned on alternative architecture | Medium | Informational | Efficiency
2025-12-11 | Alarm: ACM | Diagnosed unexplained In Progress state for tag 88VA327G linked to Reconfiguration | Low | Pending | Low
2025-12-14 | ACM/SCADA | DB corruption and SR tracking | Major | Escalated | Low
2025-12-16 | Alarm Mgmt | SPW Dynamo Activities: Investigated bulk UnSuppress actions and audit behavior across TPS/Experion. | Low | Fixed | Compliance
2025-12-17 | Experion/TPS | RE: LCN3 (ALKY) DCS Backup and Integrity Update: Coordinated D3K EC schedules and executed backups f | Low | Fixed | Compliance
2025-12-18 | Integrity | Challenged reservation migration hours, documented SSR defects and training needs | Moderate | Escalated | Compliance
2025-12-19 | Experion/TPS | RE: LCN4 17XA861 and 84UA822 chattering alarms: Clarified INHIBIT vs DISABLE parity for suppression | Medium | Informational | Low
2025-12-19 | Alarm: DynAMo | Supported mitigation of LCN4 chattering alarms with suppression guidance | Quick | Workaround | Low
2025-12-29 | SIS/Triconex | RE: Integrity TS1131 cannot view XPS: Pursued PDF-based workaround and asked for model changes (Aha! | High | Workaround | Safety
2025-12-29 | Alarm Mgmt | RE: ACM Secondary Parameter Update: Ran secondary parameter update to push QB description/alarm edit | Low | Fixed | Efficiency
2025-12-29 | Alarm Mgmt | RE: ALERT: ACM DB Replication Heartbeat not implemented or cannot be detected: Confirmed the replica | High | Fixed | Compliance
2025-12-29 | Integrity (ALI) | RE: Zip files transferred correctly as well: Verified transfer job execution from doublehop to INT01 | Low | Fixed | Compliance
2025-12-31 | Experion/TPS | RE: DAS 91DAS005: Chased missing SUPP events on DAS triggers; captured re-init actions; warned about | Low | Fixed | Low
2025-12-31 | Integrity | Completed manual migration of >1000 reservations to LARINT01, listed carve-outs | High | Fixed | Compliance
2025-12-31 | Alarm: DynAMo | Troubleshot missing DAS SUPP events since Oct 4 and documented workaround | Moderate | Workaround | Low
=== DAY-TO-DAY ===
Date | System | Summary | Complexity | Resolution | Impact
2025-12-01 | Turbine: GE Mark VIe | Coordinated with Cyber/OT to assess GE Remote Diagnostic service option and confirm acceptability of | Low | Pending | Efficiency
2025-12-02 | UPS/COM Alarm | P1 troubleshooting for UPS COM alarm | Moderate | Fixed | Production
2025-12-03 | Other | Reviewed Windows server build and config for pgwgen004002 to close incident | Low | Pending | Compliance
2025-12-08 | SIS: Triconex | Investigated FCC alarm 11SPLC30AO, checked scan rate and SCADA tag grouping | Moderate | Fixed | Safety
2025-12-11 | PLC (Rockwell) | FW: FCC System Alarm 11SPLC30AO: Analyzed polling performance vs. register gaps; requested change ch | Low | Informational | Efficiency
2025-12-16 | DCS: ControlEdge | Provided guidance for ControlEdge PLC install media sourcing | Quick | Informational | Low
2025-12-16 | SIS: Triconex | Clarified Tristation access model via L2.5 jump box for compliance | Low | Informational | Compliance
2025-12-29 | Experion/TPS | RE: UDC Agents: Tracked redeploys across ESV/EVT fleet; highlighted remaining problematic nodes for | Low | Pending | Low
2025-12-31 | SIS/Triconex | RE: Trident DI Issues - LOV: Pointed to CyberIntegrity inventory capability; noted current limitatio | Low | Informational | Compliance
=== LEGACY MODERNIZATION ===
Date | System | Summary | Complexity | Resolution | Impact
2025-12-08 | Experion/TPS | FW: Re: DSPPrime on TDC consoles: Shared dspprime/pntbld procedure to purge stale TDC points after c | Low | Fixed | Low

## By System
=== ALARM ===
Date | System | Summary | Stream | Complexity
2025-12-02 | UPS/COM Alarm | P1 troubleshooting for UPS COM alarm | Day-to-Day | Moderate
2025-12-03 | Alarm: ACM | Flagged ACM tag description mismatches, noted F12 forcing update | Applications | Low
2025-12-10 | Alarm: ACM | Enabled ETD Tag Sync, issued Add/Delete lists, noted need for permanent deletions | Applications | Moderate
2025-12-10 | Alarm: ACM | Explained SCADA Reconfiguration defect causing Alarm Help loss, UTT fix available | Applications | Low
2025-12-11 | Alarm Mgmt | RE: APO 3.0 Installation: Raised L3/L4 edit constraints and CAR/PAR impacts; proposed template app/d | Applications | Low
2025-12-11 | Alarm Mgmt | RE: Console / Dynamo: Explained suppression exposure vs. NTE reporting; reviewed specific NTE/level | Applications | Low
2025-12-11 | Alarm Mgmt | RE: ETD_UTIL: Provided Tag Sync add/delete lists and reasoning for In-Progress versions created by s | Applications | Low
2025-12-11 | Alarm: DynAMo | Clarified INHIBIT vs DISABLE behavior and recommended proper MOC | Applications | Quick
2025-12-11 | Alarm: APO | Recommended APO 3.0 template strategy and cautioned on alternative architecture | Applications | Medium
2025-12-11 | Alarm: ACM | Diagnosed unexplained In Progress state for tag 88VA327G linked to Reconfiguration | Applications | Low
2025-12-16 | Alarm Mgmt | SPW Dynamo Activities: Investigated bulk UnSuppress actions and audit behavior across TPS/Experion. | Applications | Low
2025-12-19 | Alarm: DynAMo | Supported mitigation of LCN4 chattering alarms with suppression guidance | Applications | Quick
2025-12-29 | Alarm Mgmt | RE: ACM Secondary Parameter Update: Ran secondary parameter update to push QB description/alarm edit | Applications | Low
2025-12-29 | Alarm Mgmt | RE: ALERT: ACM DB Replication Heartbeat not implemented or cannot be detected: Confirmed the replica | Applications | High
2025-12-31 | Alarm: DynAMo | Troubleshot missing DAS SUPP events since Oct 4 and documented workaround | Applications | Moderate
=== DCS ===
Date | System | Summary | Stream | Complexity
2025-12-08 | Experion/TPS | FW: Re: DSPPrime on TDC consoles: Shared dspprime/pntbld procedure to purge stale TDC points after c | Legacy Modernization | Low
2025-12-11 | Experion/TPS | RE: Significant issue with alarm discrepancies occurring between the servers and the consoles: Quest | Applications | Medium
2025-12-16 | DCS: ControlEdge | Provided guidance for ControlEdge PLC install media sourcing | Day-to-Day | Quick
2025-12-17 | Experion/TPS | RE: LCN3 (ALKY) DCS Backup and Integrity Update: Coordinated D3K EC schedules and executed backups f | Applications | Low
2025-12-19 | Experion/TPS | RE: LCN4 17XA861 and 84UA822 chattering alarms: Clarified INHIBIT vs DISABLE parity for suppression | Applications | Medium
2025-12-29 | Experion/TPS | RE: UDC Agents: Tracked redeploys across ESV/EVT fleet; highlighted remaining problematic nodes for | Day-to-Day | Low
2025-12-31 | Experion/TPS | RE: DAS 91DAS005: Chased missing SUPP events on DAS triggers; captured re-init actions; warned about | Applications | Low
=== OTHER ===
Date | System | Summary | Stream | Complexity
2025-12-01 | Turbine: GE Mark VIe | Coordinated with Cyber/OT to assess GE Remote Diagnostic service option and confirm acceptability of | Day-to-Day | Low
2025-12-03 | Other | Reviewed Windows server build and config for pgwgen004002 to close incident | Day-to-Day | Low
2025-12-04 | APO/HAM | Node rename procedure missing; SR needed | Applications | Quick
2025-12-04 | HMI: HMIWeb | Explained Flex vs server alarm discrepancies under investigation | Applications | Low
2025-12-05 | Integrity | Requested SEL‑710 relay config files for Integrity ingestion | Applications | Low
2025-12-14 | ACM/SCADA | DB corruption and SR tracking | Applications | Major
2025-12-18 | Integrity | Challenged reservation migration hours, documented SSR defects and training needs | Applications | Moderate
2025-12-29 | Integrity (ALI) | RE: Zip files transferred correctly as well: Verified transfer job execution from doublehop to INT01 | Applications | Low
2025-12-31 | Integrity | Completed manual migration of >1000 reservations to LARINT01, listed carve-outs | Applications | High
=== PLC ===
Date | System | Summary | Stream | Complexity
2025-12-11 | PLC (Rockwell) | FW: FCC System Alarm 11SPLC30AO: Analyzed polling performance vs. register gaps; requested change ch | Day-to-Day | Low
=== SIS ===
Date | System | Summary | Stream | Complexity
2025-12-08 | SIS: Triconex | Investigated FCC alarm 11SPLC30AO, checked scan rate and SCADA tag grouping | Day-to-Day | Moderate
2025-12-16 | SIS: Triconex | Clarified Tristation access model via L2.5 jump box for compliance | Day-to-Day | Low
2025-12-29 | SIS/Triconex | RE: Integrity TS1131 cannot view XPS: Pursued PDF-based workaround and asked for model changes (Aha! | Applications | High
2025-12-31 | SIS/Triconex | RE: Trident DI Issues - LOV: Pointed to CyberIntegrity inventory capability; noted current limitatio | Day-to-Day | Low