## Slide 1
Process Controls Value Summary
Q2 2025 (April-June 2025)
January 2026

## Slide 2
Executive Summary
Key Achievements
* Handled 26 technical support issues
* Resolved 77% of issues (Fixed + Informational)
* Supported 13 different system types
Trends & Observations
* Applications stream: 58% of workload
* Top system: Integrity (23%)
* Compliance-related work: 35% of issues

## Slide 3
Key Metrics Dashboard
26
Total Issues
77%
Fixed/Resolved
58%
Applications
35%
Compliance
2
Safety-Related
1
High Complexity
Data period: Q2 2025 (April-June 2025)

## Slide 4
Work by System
Integrity
6 (23%)
DynAMo
4 (15%)
Alarm
4 (15%)
Triconex
2 (8%)
Experion/TPS
2 (8%)
Network
1 (4%)
HMIWeb
1 (4%)
Experion
1 (4%)

## Slide 5
Work by Stream
Applications: 15 (58%)
APO, ACM, DynAMo, Integrity, Historian
Day-to-Day: 11 (42%)
Routine support, troubleshooting

## Slide 6
Highlights & Impact
Advised disabling HART diagnostics to prevent nuisance load-...
System: Triconex
Resolution: Informational | Impact: Safety
Aligned operations intent and diagnostic suppression for loa...
System: Triconex
Resolution: Informational | Impact: Safety
Announced major improvements to suppressed/active sync for a...
System: DynAMo
Resolution: Fixed | Impact: Low

## Slide 7
Recommendations
1. Resource Planning
With 26 issues this quarter, ensure adequate coverage for Applications (58%) and Integrity support.
2. Training Opportunities
Consider cross-training on Integrity given its 23% share of workload.
3. Process Improvements
Review 1 high-complexity items for potential process improvements or automation.

## Slide 8
Questions?
Process Controls Team