## Summary
PC VALUE TRACKER — QUARTERLY SUMMARY
Quarter: | Q1 2025
Generated: | 2026-01-25 08:11
TOTAL ISSUES | 17
BY MONTH | Count
January 2025 | 2
February 2025 | 12
March 2025 | 3
BY STREAM | Count
Applications | 7 (41.2%)
Day-to-Day | 6 (35.3%)
Legacy Modernization | 4 (23.5%)
BY SYSTEM | Count
Other | 9 (52.9%)
DCS | 6 (35.3%)
SIS | 1 (5.9%)
PLC | 1 (5.9%)
BY COMPLEXITY | Count
Quick | 3 (17.6%)
Low | 11 (64.7%)
Moderate | 2 (11.8%)
Medium | 1 (5.9%)
BY BUSINESS IMPACT | Count
Safety | 1 (5.9%)
Compliance | 3 (17.6%)
Low | 13 (76.5%)
BY RESOLUTION | Count
Informational | 13
Fixed | 3
Pending | 1

## Trends
QUARTERLY TRENDS
Month | Total Issues | High Complexity | Top Stream | Top System
Jan 2025 | 2 | 0 | Day-to-Day | DCS
Feb 2025 | 12 | 1 | Applications | Other
Mar 2025 | 3 | 0 | Day-to-Day | Other

## Stream Scorecard
STREAM SCORECARD
Stream | Count | High Complexity | Safety Impact | Key Systems
Applications | 7 | 0 | 0 | DynAMo, Experion/TPS, Integrity
Day-to-Day | 6 | 1 | 1 | Experion Alarm, GE Mark VIe, SIS/Triconex
Legacy Modernization | 4 | 0 | 0 | Experion/TPS, PLC-5/TDC, TDC/ELCN
=== APPLICATIONS (7 issues) ===
Date | System | Summary | Complexity | Impact
2025-02-05 | Experion/TPS | RE: Case 00585587 - Ghost Historian Links and References: Drove Integrity DB upg | Low | Compliance
2025-02-10 | DynAMo | Analyzed suppressed alarm discrepancies and advised escalation to BLAN IT due to | Low | Low
2025-02-14 | Integrity | Confirmed Integrity upgrade snapshots can be deleted and closed CTASK after upgr | Quick | Compliance
2025-02-19 | ACM/DynAMo | Provided guidance on OpsLimits SQL ownership issues and stale alarm data, suppor | Low | Low
2025-02-20 | DynAMo | Provided guidance on safe procedures for clearing Dynamo reports and managing ev | Quick | Low
2025-02-21 | DynAMo | Provided alarm source system files to support investigation into improper user-c | Low | Low
2025-03-25 | Integrity (ALI) | RE: 80672 Control Logix external cross reference with EPKS: Confirmed developmen | Low | Compliance
=== DAY-TO-DAY (6 issues) ===
Date | System | Summary | Complexity | Impact
2025-01-03 | Experion Alarm | Review of shelving/priority standards | Moderate | Low
2025-01-28 | GE Mark VIe | Sent updated GTG configuration and trip log files to support GE troubleshooting | Low | Low
2025-02-03 | SIS/Triconex | PCDI writes: Consulted SME on write anomalies during steam extraction control is | Low | Safety
2025-02-04 | Experion/TPS | RE: SF#06871611/SF#06871612 - Recurring Experion PKS lost synchronization on red | Medium | Low
2025-02-19 | Experion | Diagnosed task creation issues for SWS comparison tool and fixed root cause (mis | Low | Low
2025-03-20 | TPS/Experion | TPNServer congestion troubleshooting | Moderate | Low
=== LEGACY MODERNIZATION (4 issues) ===
Date | System | Summary | Complexity | Impact
2025-02-05 | Experion/TPS | RE: Technical Question ¦ TPS & PLC5 References: Provided step-by-step mapping us | Low | Low
2025-02-05 | PLC-5/TDC | Provided steps for locating TPS highway/box information to resolve PLC5-TPS refe | Low | Low
2025-02-20 | TDC/ELCN | Shared recovery procedures for Loss of View events and recommended proactive bri | Low | Low
2025-03-20 | TDC | Requested TPS congestion reference documents to support troubleshooting. | Quick | Low

## All Issues
Date | System | Summary | Stream | Complexity | Resolution | Business Impact
2025-01-03 | Experion Alarm | Review of shelving/priority standards | Day-to-Day | Moderate | Fixed | Low
2025-01-28 | GE Mark VIe | Sent updated GTG configuration and trip log files to support GE troubleshooting for Watson Cogen. | Day-to-Day | Low | Informational | Low
2025-02-03 | SIS/Triconex | PCDI writes: Consulted SME on write anomalies during steam extraction control issue; validated Modscan/TMR observations. | Day-to-Day | Low | Informational | Safety
2025-02-04 | Experion/TPS | RE: SF#06871611/SF#06871612 - Recurring Experion PKS lost synchronization on redundant Server B.: Coordinated remote session; directed team to review EBR configuration (Section 2). | Day-to-Day | Medium | Informational | Low
2025-02-05 | Experion/TPS | RE: Case 00585587 - Ghost Historian Links and References: Drove Integrity DB upgrade path to v7.3.1; requested EULA and change procedure for IT approval. | Applications | Low | Informational | Compliance
2025-02-05 | Experion/TPS | RE: Technical Question ¦ TPS & PLC5 References: Provided step-by-step mapping using TPS_EPLCG_* properties to link PLC-5 to TPS assets. | Legacy Modernization | Low | Informational | Low
2025-02-05 | PLC-5/TDC | Provided steps for locating TPS highway/box information to resolve PLC5-TPS reference mapping issues. | Legacy Modernization | Low | Informational | Low
2025-02-10 | DynAMo | Analyzed suppressed alarm discrepancies and advised escalation to BLAN IT due to SQL query mismatch. | Applications | Low | Informational | Low
2025-02-14 | Integrity | Confirmed Integrity upgrade snapshots can be deleted and closed CTASK after upgrade verification. | Applications | Quick | Fixed | Compliance
2025-02-19 | ACM/DynAMo | Provided guidance on OpsLimits SQL ownership issues and stale alarm data, supporting troubleshooting direction. | Applications | Low | Informational | Low
2025-02-19 | Experion | Diagnosed task creation issues for SWS comparison tool and fixed root cause (misnamed folder). | Day-to-Day | Low | Fixed | Low
2025-02-20 | TDC/ELCN | Shared recovery procedures for Loss of View events and recommended proactive bridge failover cycle. | Legacy Modernization | Low | Informational | Low
2025-02-20 | DynAMo | Provided guidance on safe procedures for clearing Dynamo reports and managing event closures. | Applications | Quick | Informational | Low
2025-02-21 | DynAMo | Provided alarm source system files to support investigation into improper user-closed alarms and need for suppressed sync. | Applications | Low | Informational | Low
2025-03-20 | TPS/Experion | TPNServer congestion troubleshooting | Day-to-Day | Moderate | Pending | Low
2025-03-20 | TDC | Requested TPS congestion reference documents to support troubleshooting. | Legacy Modernization | Quick | Informational | Low
2025-03-25 | Integrity (ALI) | RE: 80672 Control Logix external cross reference with EPKS: Confirmed development guidance for CLX↔EPKS SCADA cross-references; unblocked asset modeling. | Applications | Low | Informational | Compliance