## Applications Dashboard
APPLICATIONS DASHBOARD — 2025-Q3
Total Application Issues: | 31
Estimated Hours Invested: | 26
Issues by Application:
Alarm Management (DynAMo/ACM/APO): | 20 (65%)
Asset Integrity: | 10 (32%)
Other Applications: | 1 (3%)
Business Impact:
Compliance: | 16
Low: | 11
Efficiency: | 2
Production: | 1
Safety: | 1
Application Issues:
Date | System | Summary | Complexity | Resolution | Impact
2025-07-02 | Alarm: APO | Flagged issues with APO architecture and L4 HAM M&R data flo | Low | Informational | Efficiency
2025-07-03 | Alarm: APO | Advised inclusion of L4 HAM M&R in APO architecture and requ | Low | Informational | Efficiency
2025-07-14 | Alarm: ACM | Requested PRA remote access for Dhanya to perform ACM work. | Quick | Pending | Low
2025-07-14 | Alarm: DynAMo | Updated that Honeywell TAC case SF#08400717 remains open for | Low | Escalated | Low
2025-07-15 | Alarm: ACM | Clarified L3→L4 ACM replication behavior and asked about L4 | Low | Informational | Compliance
2025-07-18 | Alarm: ACM | Provided ACM data folders to support Tag Sync notification i | Quick | Informational | Compliance
2025-07-21 | Integrity | Instructed Windows 11 users to request manual XPS Viewer ins | Quick | Informational | Compliance
2025-07-23 | Alarm: ACM | Explained SCADA reconfiguration behavior requiring Release o | Quick | Informational | Low
2025-07-24 | Alarm: ACM | Investigated Alky suppressed-alarm ghost events; requested P | Low | Pending | Low
2025-07-24 | Integrity | Explained LCN backup schedule differences and reliability fo | Quick | Informational | Compliance
2025-07-29 | Alarm: ACM | Noted ghost tags persist; recommended TPS checkpoint rebuild | Low | Pending | Low
2025-07-30 | Vibration: BN3500 | Shared Bently Nevada contacts to support Integrity imports. | Quick | Informational | Compliance
2025-07-30 | PLC: RSLogix | Requested Carbon Black disable on LARRSLGXTS to run Integrit | Quick | Pending | Compliance
2025-07-31 | Alarm: APO | Shared Honeywell architecture guidance and IT server-split p | Low | Informational | Low
2025-08-06 | Integrity | Requested clarification on Hexagon architecture and missing | Low | Informational | Compliance
2025-08-12 | Alarm: APO | Corrected mis-placed EminentWare certificate causing APO out | Low | Fixed | Production
2025-08-12 | Alarm: DynAMo | Explained shelving inaccuracies and daily Shelving Sync reco | Quick | Informational | Low
2025-08-20 | Alarm: APO | Provided APO v1.1 vs 3.0 guidance, Tag Sync behavior, ACM cu | Low | Informational | Compliance
2025-08-21 | ACM/DynAMo | Missing AlarmClass NTE SQL analysis | Moderate | Pending | Compliance
2025-08-27 | Integrity | Requested SEL-710 RDB relay config files for Integrity inges | Low | Pending | Compliance
2025-08-29 | Integrity | Shared SQL index improvements (>90% faster search) and reque | Low | Informational | Compliance
2025-08-29 | Alarm: APO | Provided documentation for APO Router CSA approval and integ | Low | Informational | Compliance
2025-09-12 | SIS: Safety Manager | Requested Carbon Black disable for Safety Manager processing | Quick | Pending | Safety
2025-09-16 | Integrity | Advised TPS file handling for Integrity imports. | Low | Informational | Compliance
2025-09-22 | Alarm: APO | Confirmed APO 3.0 guide availability and alarm behavior. | Quick | Informational | Low
2025-09-25 | Integrity (ALI) | RE: MPC LAR Bently Nevada Integrity Data: Enumerated missing | Low | Informational | Compliance
2025-09-25 | Historian: PI | Explained Dynamo KPI export path via PI. | Low | Informational | Low
2025-09-25 | Integrity | Directed vendor on CBR folder cleanup. | Quick | Informational | Compliance
2025-09-30 | Alarm: ACM | Clarified certificate purpose for OpsLimit/ACM. | Quick | Informational | Low
2025-09-30 | Alarm: ACM | Coordinated ACM Tag Sync controls. | Low | Informational | Compliance
2025-09-30 | Alarm: ACM | Recommended PTS support hours for ACM reliability. | Low | Pending | Low
RECOMMENDATION: Recognize application support as a distinct skill set requiring dedicated expertise.