## Day-to-Day Dashboard
DAY-TO-DAY SUPPORT DASHBOARD — 2025-Q3
Total Issues: | 13
By System:
DCS: | 4 (31%)
Historian: | 2 (15%)
Experion/TPS: | 1 (8%)
PLC (Rockwell): | 1 (8%)
AB PLC/Experion: | 1 (8%)
SIS: | 1 (8%)
SIS/Triconex: | 1 (8%)
Vibration: | 1 (8%)
By Complexity:
Low: | 7 (54%)
Quick: | 3 (23%)
Medium: | 2 (15%)
Major: | 1 (8%)
By Resolution:
Informational: | 4 (31%)
Escalated: | 4 (31%)
Pending: | 4 (31%)
Fixed: | 1 (8%)
Issue Detail:
Date | System | Summary | Complexity | Resolution | Impact
2025-07-23 | Historian: PI | Recommended against historizing flat-line digital statuses; | Quick | Informational | Low
2025-07-24 | DCS: Experion | Uploaded EMSEvents backup and provided controller sync scree | Low | Escalated | Efficiency
2025-07-24 | DCS: Experion | Shared TPS point deletion and Experion integration reference | Quick | Informational | Low
2025-07-29 | Experion/TPS | FW: Cutover Tools blocked for HTU cutover: Coordinated Carbo | Medium | Pending | Low
2025-08-05 | PLC (Rockwell) | RE: P1 WO 1201083413 - Desox Loader Screen: Identified targe | Medium | Informational | Production
2025-08-06 | AB PLC/Experion | Loss of comms after power loss | Major | Escalated | Low
2025-08-28 | DCS: Experion | Followed up with Honeywell TAC regarding ReceivedDelay alarm | Low | Escalated | Low
2025-08-28 | Historian: PI | Requested creation of C300 monitoring tags (CALK/ETD). | Low | Pending | Low
2025-09-04 | SIS: Triconex | Provided guidance on Triconex system faults. | Quick | Informational | Safety
2025-09-10 | SIS/Triconex | FW: 15 Asset Hierarchy 250909: Repaired and realigned asset | Low | Fixed | Compliance
2025-09-11 | DCS: Experion | Followed up with Honeywell GTAC on ReceivedDelay alarms. | Low | Escalated | Low
2025-09-25 | Vibration: BN3500 | Identified missing firmware files, requested network info. | Low | Pending | Low
2025-09-25 | PLC: ControlLogix | Requested help mapping analyzer/CEMS PLC programs. | Low | Pending | Low
BASELINE: 13 routine support issues this quarter. Use for resource planning.