## Day-to-Day Dashboard
DAY-TO-DAY SUPPORT DASHBOARD — 2025-Q4
Total Issues: | 23
By System:
SIS: | 4 (17%)
DCS: | 3 (13%)
SIS/Triconex: | 2 (9%)
Turbine: | 2 (9%)
Experion/TPS: | 2 (9%)
HMI: | 2 (9%)
Other: | 2 (9%)
GE/Woodward/Bently: | 1 (4%)
By Complexity:
Low: | 11 (48%)
Moderate: | 6 (26%)
Quick: | 5 (22%)
High: | 1 (4%)
By Resolution:
Informational: | 10 (43%)
Pending: | 6 (26%)
Fixed: | 4 (17%)
Escalated: | 2 (9%)
Handed Off: | 1 (4%)
Issue Detail:
Date | System | Summary | Complexity | Resolution | Impact
2025-10-09 | SIS/Triconex | RE: HCU TMR Alarm: Referenced prior EDM training for pulling | Low | Informational | Compliance
2025-10-09 | SIS | Guided use of EDM for fault logs and training | Low | Informational | Compliance
2025-10-13 | Turbine | Investigated DWATT TOO LOW and suggested GE ticket | Moderate | Escalated | Low
2025-10-14 | DCS | Assessed loss of steam extraction control on STG#2 | Moderate | Handed Off | Low
2025-10-21 | Experion/TPS | FW: LARINT01 - Cannot create scheduled task: Documented expo | High | Informational | Low
2025-10-21 | HMI | Identified need for Vartech HMI driver CD-ROM | Quick | Pending | Low
2025-10-23 | GE/Woodward/Bently | WCC 92 Power Distribution Card Failure: Initiated follow-up | Low | Informational | Compliance
2025-10-24 | DCS | Cleaned ghost references on ESVT3 for Butamer tags | Low | Fixed | Low
2025-10-28 | Network | Confirmed KepServerEX licenses for Modbus Master | Quick | Informational | Low
2025-10-29 | Alarm | Requested failover of ESVT3 after collection stopped | Quick | Pending | Low
2025-10-30 | SIS | Advised on simulating Safety Manager comms | Quick | Informational | Safety
2025-10-30 | HMI | Resolved by adjusting dewpoint setpoints on HMIs | Low | Fixed | Low
2025-11-14 | Siemens PLC | HMI communication troubleshooting | Moderate | Escalated | Low
2025-11-17 | Other | Coordinated restore path for corrupted server pgwgen004002; | Moderate | Pending | Efficiency
2025-12-01 | Turbine: GE Mark VIe | Coordinated with Cyber/OT to assess GE Remote Diagnostic ser | Low | Pending | Efficiency
2025-12-02 | UPS/COM Alarm | P1 troubleshooting for UPS COM alarm | Moderate | Fixed | Production
2025-12-03 | Other | Reviewed Windows server build and config for pgwgen004002 to | Low | Pending | Compliance
2025-12-08 | SIS: Triconex | Investigated FCC alarm 11SPLC30AO, checked scan rate and SCA | Moderate | Fixed | Safety
2025-12-11 | PLC (Rockwell) | FW: FCC System Alarm 11SPLC30AO: Analyzed polling performanc | Low | Informational | Efficiency
2025-12-16 | DCS: ControlEdge | Provided guidance for ControlEdge PLC install media sourcing | Quick | Informational | Low
2025-12-16 | SIS: Triconex | Clarified Tristation access model via L2.5 jump box for comp | Low | Informational | Compliance
2025-12-29 | Experion/TPS | RE: UDC Agents: Tracked redeploys across ESV/EVT fleet; high | Low | Pending | Low
2025-12-31 | SIS/Triconex | RE: Trident DI Issues - LOV: Pointed to CyberIntegrity inven | Low | Informational | Compliance
BASELINE: 23 routine support issues this quarter. Use for resource planning.