## Technical Debt Register
TECHNICAL DEBT REGISTER — 2025-Q1
Legacy System Issues: | 4
Issues by System:
TDC: | 3
Experion/TPS: | 1
Risk Assessment:
System | Issue Count | Risk Level | Notes
TDC | 3 | CRITICAL | End of life, no vendor support
Experion/TPS | 1 | MEDIUM | Monitor closely
Issue Detail:
Date | System | Summary | Resolution | Impact
2025-02-05 | Experion/TPS | RE: Technical Question ¦ TPS & PLC5 References: Provided step-by-step mapping us | Informational | Low
2025-02-05 | PLC-5/TDC | Provided steps for locating TPS highway/box information to resolve PLC5-TPS refe | Informational | Low
2025-02-20 | TDC/ELCN | Shared recovery procedures for Loss of View events and recommended proactive bri | Informational | Low
2025-03-20 | TDC | Requested TPS congestion reference documents to support troubleshooting. | Informational | Low
RECOMMENDATION: Fund obsolescence replacements before catastrophic failure.